CONTOSO LTD.

Building Maintenance & Facilities Services

Employee Guide — 2025

INTERNAL USE ONLY

# Building Maintenance & Facilities Procedures

This document outlines the procedures for reporting building maintenance issues and requesting facilities services at all Contoso Ltd. office locations worldwide. These guidelines are designed to ensure a safe, comfortable, and productive workplace for all employees.

Effective Date: January 1, 2025  |  Last Updated: November 12, 2025  |  Document Owner: Global Facilities Management

## 1. Facilities Management Overview

The Contoso Global Facilities Management (GFM) team is responsible for the maintenance, safety, and operational readiness of all company-owned and leased office spaces. The GFM team manages over 2.4 million square feet of office space across 32 locations in 14 countries/regions.

### Scope of Services

•  Building maintenance and repairs (HVAC, plumbing, electrical, structural)

•  Workspace setup, moves, and reconfigurations

•  Cleaning and janitorial services

•  Conference room and meeting space management

•  Parking and transportation services

•  Security badge and building access management

•  Kitchen and breakroom supplies and equipment

•  Sustainability and energy management initiatives

•  Emergency preparedness and safety equipment

## 2. How to Request Facilities Help

Employees may submit a facilities request through any of the following channels. The Facilities Portal is the preferred method for non-emergency requests.

### Method 1: Facilities Portal (Recommended)

Step 1: Navigate to https://facilities.contoso.com and sign in with your corporate credentials.

Step 2: Click "New Facilities Request" on the dashboard.

Step 3: Select your office location from the dropdown menu.

Step 4: Choose the appropriate request category:

•  Maintenance Repair — Something is broken or malfunctioning (lights, HVAC, plumbing, doors, elevators)

•  Workspace Request — Desk setup, monitor arms, ergonomic equipment, furniture, or office moves

•  Cleaning Request — Spills, restroom issues, additional cleaning, or waste removal

•  Conference Room Issue — AV equipment problems, room booking issues, or room setup requests

•  Access & Security — Badge replacement, building access hours, visitor registration

•  Kitchen & Breakroom — Appliance issues, supply restocking, or equipment replacement

•  Parking & Transportation — Parking pass requests, shuttle schedules, EV charging stations

•  Other — Any request not covered by the above categories

Step 5: Fill in the required details:

•  Subject: Brief description (e.g., "Overhead light flickering on Floor 3, Section B")

•  Description: Detailed explanation including exact location (floor, wing, room number, desk ID)

•  Priority: Select urgency level (see Priority Matrix in Section 4)

•  Photos: Upload photos of the issue if applicable

Step 6: Click "Submit Request." You will receive a confirmation email with your request number (e.g., FAC-2025-004521).

Step 7: Track the status of your request at any time by visiting the portal and clicking "My Requests."

### Method 2: Microsoft Teams — Facilities Bot

Step 1: Open Microsoft Teams and search for the "Contoso Facilities Bot" app.

Step 2: Start a chat and describe your issue (e.g., "The kitchen sink on Floor 5 is leaking").

Step 3: The bot will ask clarifying questions (location, category, urgency) and submit a request on your behalf.

Step 4: You'll receive a confirmation with a request number directly in the chat.

### Method 3: Email

Send an email to facilities@contoso.com with your location, floor, room/desk number, a description of the issue, and any photos. A request will be created automatically and a confirmation sent within 10 minutes.

### Method 4: Phone (Emergencies Only)

For urgent or emergency situations, call your regional Facilities Hotline:

| Region | Hotline Number | Hours |
| --- | --- | --- |
| Americas | +1 (800) 555-FAC1 (3221) | 24/7 |
| EMEA | +44 20 7946 2200 | 24/7 |
| APAC | +65 6123 8900 | 24/7 |

## 3. Contoso Office Locations

The following table lists Contoso's primary office locations managed by the Global Facilities Management team.

| Location | Address | Floors | Capacity |
| --- | --- | --- | --- |
| Redmond HQ (Building A–D) | One Contoso Way, Redmond, WA 98052 | 12 | 4,200 |
| New York City | 350 Fifth Avenue, Suite 4800, NY 10118 | 3 | 850 |
| London | 25 Canada Square, Canary Wharf, London E14 5LQ | 5 | 1,600 |
| Dublin | Contoso Campus, Grand Canal Dock, Dublin D02 YX88 | 4 | 1,100 |
| Singapore | 1 Raffles Place, Tower 2, Level 28, Singapore 048616 | 2 | 620 |
| São Paulo | Av. Brigadeiro Faria Lima, 3477, São Paulo 04538-133 | 3 | 480 |
| Sydney | 200 George Street, Level 18, Sydney NSW 2000 | 2 | 380 |
| Hyderabad | Contoso Tech Park, HITEC City, Hyderabad 500081 | 6 | 2,800 |

## 4. Request Priority Matrix

All facilities requests are classified according to the following priority levels. Please select the appropriate priority when submitting your request.

| Priority | Definition | Response | Resolution |
| --- | --- | --- | --- |
| P1 — Emergency | Immediate safety hazard, flooding, fire damage, power outage, gas leak, security breach, or elevator entrapment | Immediate | 2 hours |
| P2 — Urgent | HVAC failure affecting occupied area, major plumbing leak, broken exterior door/window, non-functioning restroom | 30 minutes | Same business day |
| P3 — Standard | Flickering lights, minor repairs, furniture replacement, workspace reconfiguration, AV equipment issues | 4 hours | 3 business days |
| P4 — Low | Cosmetic repairs, supply restocking, general inquiries, non-urgent moves, signage updates | 1 business day | 7 business days |

P1 Emergency requests should always be reported by phone to the regional Facilities Hotline in addition to submitting a portal request.

## 5. Scheduled Maintenance

The Facilities team performs scheduled preventive maintenance to ensure all building systems operate safely and efficiently. Employees will receive advance notice of any maintenance that may cause disruption.

### Routine Maintenance Schedule

•  HVAC Systems: Inspected and serviced quarterly. Filter changes occur monthly.

•  Elevators: Inspected monthly by certified technicians. Annual load testing is conducted in January.

•  Fire Safety Systems: Sprinklers, alarms, and extinguishers inspected semi-annually. Full fire drills conducted quarterly.

•  Plumbing: Preventive inspections conducted quarterly. Water quality testing performed semi-annually.

•  Electrical Systems: Annual inspection of panels, wiring, and emergency generators. Generator load tests conducted quarterly.

•  Roof & Exterior: Inspected semi-annually and after major weather events.

•  Pest Control: Monthly preventive treatments by a licensed pest management provider.

### Maintenance Notifications

For planned maintenance that may affect workspaces (e.g., HVAC shutdowns, water interruptions, elevator servicing), employees will receive an email notification at least 48 hours in advance. Emergency maintenance that poses a safety risk will be communicated immediately via email, Teams announcements, and building PA systems.

## 6. Workspace & Desk Requests

### Desk Setup & Ergonomic Equipment

All employees are entitled to a standard ergonomic workspace setup, which includes:

•  Height-adjustable sit/stand desk

•  Ergonomic office chair with lumbar support

•  Dual monitor arms (monitors provided by IT — see IT Support Procedures, Doc 11)

•  Keyboard tray and wrist rest

•  Task lighting

Employees who require additional ergonomic accommodations (e.g., specialized chairs, alternative input devices) should submit a request through the Facilities Portal and include a note from Occupational Health or their medical provider if applicable.

### Office Moves & Reconfigurations

Requests for desk moves, team relocations, or workspace reconfigurations must be submitted at least 2 weeks in advance through the Facilities Portal under "Workspace Request." Moves involving 10 or more employees require approval from the requesting team's Vice President and the Facilities Planning Manager.

## 7. Conference Room & Meeting Spaces

Conference rooms are booked through Microsoft Outlook or the Contoso Room Finder app in Teams. Facilities-related conference room issues should be reported as follows:

•  AV equipment not working (screens, cameras, speakers): Submit a Facilities request under "Conference Room Issue" or contact the AV support line at av@contoso.com.

•  Room temperature too hot or cold: Submit a Facilities request under "Maintenance Repair" with the room number.

•  Furniture or room setup requests (e.g., extra chairs, table rearrangement for a workshop): Submit at least 3 business days in advance under "Workspace Request."

•  Room cleanliness: Submit under "Cleaning Request" for immediate attention.

## 8. Kitchen & Breakroom Services

Contoso provides fully stocked kitchens and breakrooms at all office locations. Standard amenities include:

•  Complimentary coffee (drip, espresso, and cold brew), tea, and filtered water

•  Refrigerators, microwaves, toasters, and dishwashers

•  Fresh fruit delivery (Monday, Wednesday, Friday)

•  Snack stations restocked weekly

•  Monthly rotation of specialty beverages and seasonal items

To report a kitchen equipment issue (e.g., broken coffee machine, malfunctioning dishwasher) or request supply restocking, submit a Facilities request under "Kitchen & Breakroom." Urgent kitchen issues (e.g., leaking refrigerator, gas smell) should be reported immediately by phone.

## 9. Parking & Transportation

### Parking

•  Parking passes are issued through the Facilities Portal under "Parking & Transportation."

•  Redmond HQ: All employees receive complimentary garage parking. Visitor parking is available in Lot V with a pre-registered visitor pass.

•  Other Locations: Parking availability varies by site. Monthly subsidies or transit passes may be offered where on-site parking is limited.

### EV Charging

Electric vehicle charging stations are available at Redmond HQ (Building A & C garages, Level P2), London (Canary Wharf underground parking), and Singapore (Tower 2, Basement Level 1). Charging is complimentary for employees with a registered EV parking pass. Register your vehicle through the Facilities Portal.

### Shuttle & Transit

Contoso operates employee shuttle services at the Redmond HQ campus (inter-building routes every 10 minutes, 7 AM – 7 PM). Transit subsidies of up to $150/month are available for employees at all locations who use public transportation. Apply through the Facilities Portal.

## 10. Building Access & Security

### Badge Access

All employees are issued an RFID security badge upon onboarding. Badges provide access to your assigned building, floors, and common areas. If your badge is lost, stolen, or damaged:

•  Report it immediately through the Facilities Portal under "Access & Security" to deactivate the lost badge.

•  A temporary badge can be issued at the reception desk of your building with valid photo ID.

•  A replacement permanent badge will be mailed to your desk within 2 business days.

### After-Hours Access

Standard building access hours are 6:00 AM – 9:00 PM, Monday through Friday. Employees who need after-hours or weekend access must submit a request through the Facilities Portal at least 24 hours in advance, with line manager approval. After-hours access is logged and monitored by the Security Operations team.

### Visitor Access

All visitors must be pre-registered through the Visitor Management system at https://visitors.contoso.com at least 24 hours before their visit. Visitors will receive a QR code via email to check in at the lobby kiosk. Visitors must be escorted by a Contoso employee at all times while on-premises.

## 11. Sustainability & Green Building Initiatives

Contoso is committed to achieving carbon-neutral operations by 2030. The Facilities team actively manages the following sustainability programs:

•  Energy Management: All buildings use smart lighting and HVAC systems that automatically adjust based on occupancy sensors.

•  Waste Reduction: All offices have clearly labeled recycling, compost, and landfill bins. Single-use plastics have been eliminated from all kitchens and breakrooms.

•  Water Conservation: Low-flow fixtures are installed in all restrooms. Rainwater harvesting systems are operational at Redmond HQ and the Dublin campus.

•  Green Certifications: The Redmond HQ campus and London office hold LEED Gold certification. The Dublin campus holds BREEAM Excellent certification.

Employees are encouraged to report energy waste (e.g., lights left on in unoccupied rooms, HVAC running in empty spaces) through the Facilities Portal or by emailing green@contoso.com.

## 12. Emergency Procedures

In the event of a building emergency, follow these procedures:

### Fire

Step 1: Activate the nearest fire alarm pull station. Step 2: Evacuate immediately using the nearest stairwell (do not use elevators). Step 3: Proceed to your designated assembly point. Step 4: Do not re-enter the building until cleared by emergency personnel or the Facilities team.

### Earthquake

Step 1: Drop, Cover, and Hold On — take shelter under a sturdy desk or table. Step 2: Stay indoors until the shaking stops. Step 3: After shaking stops, evacuate the building using stairwells and proceed to your assembly point. Step 4: Report any structural damage to the Facilities Hotline.

### Power Outage

Emergency lighting and generators will activate automatically. Remain calm and stay at your workstation unless instructed to evacuate. Report the outage through the Facilities Portal or Hotline if not already acknowledged.

### Medical Emergency

Call emergency services immediately (911 in the US, 999 in the UK, 000 in Australia, 995 in Singapore). Notify the reception desk. First aid kits and AEDs (Automated External Defibrillators) are located on every floor near the elevator lobbies.

Assembly points for each building are posted on the emergency evacuation maps located near all stairwells and elevator lobbies. All employees must participate in quarterly fire drills.

## 13. Contact Information

| Service | Contact |
| --- | --- |
| Facilities Portal | https://facilities.contoso.com |
| Facilities Email | facilities@contoso.com |
| AV Support | av@contoso.com |
| Visitor Registration | https://visitors.contoso.com |
| Sustainability | green@contoso.com |
| Facilities Manager — Americas | john.martinez@contoso.com ¦ +1 (425) 555-3100 |
| Facilities Manager — EMEA | sarah.williams@contoso.com ¦ +44 20 7946 2201 |
| Facilities Manager — APAC | wei.zhang@contoso.com ¦ +65 6123 8901 |

This policy will be reviewed annually and updated to reflect changes to Contoso office locations, service providers, and building regulations.